Electronics, Trigger and Data Acquisition
part 2
Summer Student Programme 2016, CERN
July 12, 2016
Roberto Ferrari
Instituto Nazionale di Fisica Nucleare
roberto.ferrari@pv.infn.it

---
Trigger & DAQ

---
Basic DAQ: Synchronous Trigger (1)
Measure temperature at fixed frequency
ADC performs analog-to-digital conversion
our front-end electronics
CPU does readout and processing
External View
T sensor
ADC Card
T sensor
CPU
disk
Physical View
ADC
storage
Trigger (periodic)
Logical View
Processing

---
Basic DAQ: Synchronous Trigger (2)
Measure temperature at fixed frequency
Full sequential  nothing going in parallel
System limited by time needed to process one “event”
If τ ~ 1ms for
ADC conversion +CPU processing +storage
 can sustain up to 1/τ~1kHz of periodic (synchronous) trigger rate
External View
T sensor
ADC Card
T sensor
CPU
disk
Physical View
ADC
storage
Trigger (periodic)
Logical View
Processing

---
What does “Trigger” mean?
Prompt signal, built with “as simple as possible” criteria, claiming that, possibly, something interesting took place, initiating the data-acquisition process [ “please, look at that” ]
Keywords: simple, rapid, selective
selective = efficient for “signal” & resistant to “background”
Actual parameters strongly dependent on operating conditions
in multi-level trigger system, “next” level way slower and more complex than preceding one
The oscilloscope trigger does exactly this: informs the instrument to initiate the internal signal acquisition and visualization

---
How Trigger was born
https://en.wikipedia.org/wiki/Coincidence_circuit :
Walther Bothe: (1924-1929) offline  online coincidence (logic AND) of 2 signals
Bruno Rossi: "Method of Registering Multiple Simultaneous Impulses of Several Geiger Counters" (Nature, 1930), online coincidence of 3 signals (expandable)
“Rossi coincidence circuit was rapidly adopted by experimenters around the world. It was the first practical AND circuit, precursor of the AND logic circuits of electronic computers”
Geiger-Muller counters
Rossi's circuit: coincidence of signals of 3 Geiger-Muller counters
simplest case: 2-signal coincidence

---
Basic DAQ: Physics Trigger
Measure β decay properties
Asynchronous and unpredictable events
need a physics trigger
Delay compensates for trigger latency
time needed to reach a decision
When system busy (=not ready to react to triggers)  dead time
ADC
Delay
Processing
Interrupt
Discriminator
Trigger
Start
disk
Sensor

---
Basic DAQ: Real Trigger
Measure β decay properties
Stochastic (i.e. fully uncorrelated) process
fluctuations
Probability of time (in ms) between events for average decay rate of f=1kHz  λ=1ms
What if new trigger arrives when system busy?
ADC
Delay
Processing
Interrupt
Discriminator
Trigger
Start
disk
Sensor

---
Basic DAQ: don't loose any event ?
a) Retriggerable DAQ system: any new trigger accepted, each time causing dead-time restart, regardless of DAQ state
⇒ paralysable DAQ
b) Non retriggerable : none new trigger until dead time elapsed
⇒ non-paralysable DAQ

---
Basic DAQ: Real Trigger & Busy
Busy logic avoids triggers while processing
Which (average) DAQ rate can we achieve now?
Reminder: τ=1ms sufficient to fully handle 1kHz synchronous trigger
ADC
Delay
Processing
Discriminator
Trigger
Start
disk
Sensor
Interrupt
Set
Q
Clear
and
not
Busy Logic
Ready
=1ms

---
DAQ Dead Time & Efficiency (1)
Being: τ = DAQ dead time (per event) ; f = average signal rate ; ν = average acquisition rate
         ν∙τ = total DAQ dead time ⇒ (1-ν∙τ) = total DAQ available time
         f∙(1-ν∙τ) = ν ⇒ ν = f/(1+f∙τ) < f, 1/τ
        Efficiency ε = ν/f = 1/(1+f∙τ) < 100%
        Dead time (1-ε) = f∙τ/(1+f∙τ) ⇒ f∙τ < (1-ε) < 1
Max acquisition speed (f∞) ν1/τ
Due to stochastic fluctuations, efficiency will always be less than 100%
in our specific example, τ=1ms, f=1kHz ⇒ ν=500Hz, ε=50%

---
DAQ Dead Time & Efficiency (2)
Want: ν~f (ε~100%) ⇒ (f∙τ)<<1 ⇒ τ<<1/f
f=1kHz, ε=99% ⇒ τ=0.01ms ⇒ 1/τ=100kHz
In order to cope with input signal fluctuations, we have to over-design our DAQ system by a factor 100. Very inconvenient! Can we mitigate this effect?

---
Dead Time  de-randomise
Buffering allows to decouple problems
Processing  bottleneck
Dead time ~ (1+x)-1 ~ 50%
[ for x = 1/(f·τ)‏ ~ 1 ]
Dead time ~ (∑0..N xj)-1 ~ 1/(N+1)
[ N = buffer depth ]

---
Basic DAQ: De-Randomisation
First-In First-Out
buffer area organized as a queue
depth: number of memory cells
implemented in HW and SW
Buffering introduces additional latency on data path
FIFO absorbs and smooths input fluctuations, providing ~steady (de-randomised) output rate
Delay
Processing
Discriminator
Trigger
Start
disk
Sensor
Busy Logic
and
ADC
FIFO
Full
Data
ready

---
does buffering solve all problems ?
FIFO
filled with very variable input flow
emptied at smoothed output flow
 the Leaky-Bucket problem
Q: how often may overflow ?

---
Some (Candid) Queueing Theory
N-event buffer ... single queue size N:
Pk : % time with k events in ; PN = no space available  dead time
∑Pk=1 [ k=0..N ]
rate(jj+1) = f·Pj (fill at rate f)
rate(j+1j) = Pj+1/τ (empty at rate 1/τ)
steady state: f·Pj=Pj+1/τ ⇒ Pj=Pj+1/(fτ)=x·Pj+1
for x~1 ⇒ Pj~Pj+1 ⇒ ∑Pk~(N+1)·P0=1 ⇒ P0~1/(N+1)
⇒ dead time ~ 1/(N+1)
want ≤ 1% ⇒ N ≥ 100

---
Some (Candid) Queueing Theory
N-event buffer ... single queue size N:
Pk : % time with k events in ; PN = no space available  dead time
∑Pk=1 [ k=0..N ]
rate(jj+1) = f·Pj (fill at rate f)
rate(j+1j) = Pj+1/τ (empty at rate 1/τ)
steady state: f·Pj=Pj+1/τ ⇒ Pj=Pj+1/(fτ)=x·Pj+1
for x~1 ⇒ Pj~Pj+1 ⇒ ∑Pk~(N+1)·P0=1 ⇒ P0~1/(N+1)
⇒ dead time ~ 1/(N+1)
want ≤ 1% ⇒ N ≥ 100
Take care: analytic calculation possible for pretty simple systems only

---
De-Randomisation: Queueing Theory
1/f = λ

We can now attain a FIFO efficiency ~100% with:
τ ~ 1/f
“moderate” buffer size
Two degrees of freedom to play with
This dead time often managed by trigger system itself (“complex dead time”)
FIFO

---
Dead Time: Summary
1) Simple dead time: avoid overlapping (conflicting) readout window
2) Complex dead time: avoid overflow in front-end buffers (protection against trigger bursts)
ATLAS uses simply leaky-bucket algorithms with 2 parameters:
max X triggers (X = FIFO depth) in any (sliding) time window = (X*readout time)

---
De-Randomisation: Summary
Almost 100% efficiency and minimal deadtime may be achieved if
ADC able to operate at rate >> f
data processing and storing operates at ~f
FIFO decouples low latency front-end from data processing
minimize the amount of “unnecessary” fast components
Could “Delay” be replaced with “FIFO”?
analog pipelines  heavily used in LHC DAQs
Delay
Processing
Discriminator
Trigger
Start
disk
Sensor
Busy Logic
and
ADC
FIFO
Full
Data
ready

---
Basic DAQ: Collider Mode
Synchronous particle collision rate
Trigger rejects (= does not select) uninteresting events
Even if collisions are synchronous, triggers unpredictable and uncorrelated
De-randomisation still needed

---
Scaling up: Network & Buses

---
Basic DAQ: More Channels
 hierarchical structure for handling and conveyance

---
Large DAQ: Constituents
buffer/digitization

---
Large DAQ: Constituents
buffer/digitization
extracts/formats/ buffers data
Readout

---
Large DAQ: Constituents
buffer/digitization
extracts/formats/ buffers data
Readout
assembles/buffers events
Event Building

---
Large DAQ: Constituents
buffer/digitization
extracts/formats/ buffers data
Readout
assembles/buffers events
Event Building
additional rejection/buffer
Filtering

---
Large DAQ: Constituents
buffer/digitization
extracts/formats/ buffers data
Readout
assembles/buffers events
Event Building
additional rejection/buffer
Filtering
temporary store/offline transfer
Data-Logging

---
Readout Topology
Reading out or building events out of many channels requires many components
Possibly want a modular, scalable system
In designing our hierarchical data-collection system, we have better define “building blocks”
example: readout crates, event building nodes, …
How to organize interconnections inside and between building blocks ?
Two main classes: buses or network
=3 x
data
sources
data
processors

---
Readout Topology
Reading out or building events out of many channels requires many components
Possibly want a modular, scalable system
In designing our hierarchical data-collection system, we have better define “building blocks”
example: readout crates, event building nodes, …
How to organize interconnections inside and between building blocks ?
Two main classes: buses or network
Warning
Buses and network are generic concepts that can be easily confused with their most common implementations
=3 x
data
sources
data
processors

---
Buses
Examples: VME, PCI, SCSI, Parallel ATA, …
local, external, crate, long distance
Devices connected via shared lines (bus)
bus  group of electrical lines
sharing implies arbitration
Devices can be master or slave
Device can be addressed (uniquely identified) on the bus
Device 2
Device 4
Master
Data Lines
Slave
Select Line
Device 1
Device 3

---
Bus Facts
Simple 
fixed number of lines (bus-width)
devices have to implement well defined hw/sw protocols
mechanical, electrical, communication, ...
Scalability issues 
bandwidth shared among all devices
limited maximum bus width
maximum bus frequency inversely proportional to bus length
maximum number of devices depends on bus length

---
Bus Facts
Simple 
fixed number of lines (bus-width)
devices have to implement well defined hw/sw protocols
mechanical, electrical, communication, ...
Scalability issues 
bandwidth shared among all devices
limited maximum bus width
maximum bus frequency inversely proportional to bus length
maximum number of devices depends on bus length
On the long term, other “effects” might limit your system scalability

---
Network
Examples: Ethernet, Telephone, Infiniband, …
All devices are equal
Devices communicate directly with each other
no arbitration, simultaneous communications
Device communicate by sending messages
In switched network, switches move messages between sources and destinations
find the right path
handle “congestion” (two messages with the same destination at the same time)
would you be surprised to hear that buffering is the key?

---
Network
Examples: Ethernet, Telephone, Infiniband, …
All devices are equal
Devices communicate directly with each other
no arbitration, simultaneous communications
Device communicate by sending messages
In switched network, switches move messages between sources and destinations
find the right path
handle “congestion” (two messages with the same destination at the same time)
would you be surprised to hear that buffering is the key?
Thanks to these characteristics, networks do scale well. They are the backbones of LHC DAQ systems

---
Modular Electronics

---
Modular Electronics
Standard electronics “functions” implemented in well-defined “containers”
re-use of generic modules for different applications
limit the complexity of individual modules  reliability & maintainability
easy to upgrade to newer versions
profit from commercially available “functions”
“Containers” are normally well-defined standards defining mechanical, electrical, … , interfaces
“easy” design and integrate your own module
Historically, in HEP, modular electronics was bus-based
currently in a mixed phase …
Allow building your own data-acquisition system just connecting predefined functions  Fast & Efficient

---
NIM
NIM (1964)
“Nuclear Instrumentation Modules”
50 Ω input/output impedence
fast modules may have
rise/fall time: ~1 ns
duration: ~O(10 ns)
input/output delay: few ns
NIM modules usually
do not need software, are not connected to PCs
implement logic and signal processing functions
discriminators, coincidences, amplifiers, Logic gates, …
may also provide HV channels
Typically implement basic trigger and busy system
New modules still appear on market
Very diffused in medium-size HEP experiments
Found in counting rooms of LHC experiments

---
VMEbus
VMEbus: modules communicate via a “backplane”
electrical, mechanical and communication protocols
Choice of many HEP experiments for off-detector electronics [ power and control ]
relatively simple protocol
lot of commercially available functions
More than 1000 VMEbus crates at CERN

---
Other (arising) Standards
PCI-based
We know buses have limited scalability. Can we have “network-based” modular electronics?
VXS  essentially VME plus switched interconnectivity
ATCA and derivatives
standard designed for telecom companies
high-redundancy, data-throughput, high power density
being used for LHC upgrade programs

---
to be continued...