Electronics, Trigger and Data Acquisition
part 3
Summer Student Programme 2016, CERN
July 13, 2016
Roberto Ferrari
Instituto Nazionale di Fisica Nucleare
roberto.ferrari@pv.infn.it

---
Event Building

---
Two Philosophies @ LHC
Send everything, ask questions later (ALICE, CMS, LHCb)
Send a part first, get better question  send everything only if interesting (ATLAS)

---
Event Building: Network Perspective
Event Building: collection and formatting of all data elements of an event into a single unit
normally last step before high-level trigger or storage
can be implemented on buses, can use custom interconnects, can be based on (Ethernet) network
Network-based EB is choice of all LHC experiments and case study for networking in DAQ

---
Network Switch: Crossbar
Each input port can potentially be connected to each output port
At any given time, only one input port can be connected to a given output port
Different output ports can be reached concurrently by different input ports

---
Network Switch: Crossbar
Ideal situation  all inputs send data to different outputs
No interference (Congestion)
All input ports send data concurrently

---
Crossbar Switch: Event Building
EB workload implies converging data flow
all inputs want to send to same destination at the same time
“Head of line blocking”
congestion

---
Congestion
- Well know phenomena ..
  - in Geneva and other cities
- Differently from road traffic, Ethernet HW allowed to “drop” vehicles (packets)
  - Higher level protocols have to take care of re-sending
  - Possibly important performance impacts

---
Queueing
- Adding input and output FIFO dramatically improves EB pattern handling
- EB workload anyway problematic
  - limited FIFO size, variable data size
  - limited internal switching speed
traffic shaping
or
network oversizing

---
Use Cases

---
NOMAD (1995-1998)
- Search for νμντ oscillations at the CERN WA neutrino facility (WANF)
- 2.4×2.4 m2 fiducial (beam) area
- two 4ms spills with 1.8×1013 P.o.T. each (ν spills)
- a (2s) slow-extraction spill (μ spill)
- 14.4s cycle duration
trigger counters
veto counters
 DAQ layout

---
WANF - SPS SuperCycle
14.4 s cycle length
2 × 4 ms neutrino spills (f/s extractions)
1 × 2 s muon spill (slow extraction)
f/s extractions
slow extraction

---
Triggering once more ...
menu for NOMADs:
ν-spill triggers
μ-spill triggers
~3m
veto counters (central shaded area is V8)
~3m

---
Triggering  FPGA.s at work
MOdular TRIgger for NOmad (MOTRINO):
6 VME boards providing local and global trigger generation and propagation

---
FPGA: Field-Programmable Gate Array
array of configurable logic blocks providing tons (thousands  millions) of
dynamically connected logic units, made of:
- look-up tables (to perform complex combinatorial functions)
- flip-flops (to synchronously store results)
Incredibly competitive wrt. ASIC until you don't need millions of chips
With O(50-100 €) you may start up your own project in few days
http://www.fpga4fun.com:
“you can design a circuit on your computer and have it running on your desk in minutes”

---
NOMAD DAQ
- ~30(?) (64 or 96 channel) Fastbus xDC boards [ x = Q, P, T ]
- Typically:
    - ~15 evts in each 4ms spill (neutrino triggers)
    - ~60 evts in each 2s spill (muon triggers)
    - 256-events in off-spill calibration cycles (calibration triggers)
  - On spill(cycle): on-board buffering of up to 256 events (no way to read event-by-event)
  - End of spill(cycle): block transfer to 5 VME PU.s (motorola 68040 FIC8234 board, OS9 real-time system)
  - Event building and storage on another VME PU
  - Monitoring and control on SunOs/Solaris workstations
     on-board buffering
     data processing done off-spill (i.e. off-beam)

---
DREAM (2006): a Testbeam Case
R&D on dual-readout calorimetry, setup:
Crystals
Scintillating/cherenkov fibers in lead/copper matrices
Scintillator arrays as shower leakage counters
Trigger/veto/muon counters
Precision chamber hodoscope
… always evolving
Acquiring: waveforms, total charge, time information

---
DREAM (2006): a Testbeam Case
a possible SPS cycle
beam:
~2 s / 14.4 s
(flat top)
flat top
slow extraction
Trigger = ( V×T1×T2 | ped )  easy !

---
Spill-driven (asynchronous) Trigger
Trigger = V×T1×T2 | ped
Busy
Veto
Spill
Fast Gate
Trigger OR
to xDC.s
T1×T2
FADC Trigger
(oscilloscope)‏
from DAQ
Re-enable
to DAQ
Ped Veto
Other signals  monitoring/debugging‏
Ped Tr.
First discrete, then FPGA (Xilinx Spartan 3AN evaluation board)

---
DREAM DAQ
1 PC  2 VME crates (access via CAEN optical interfaces) + 1 PC  storage
6 x 32 ch xDC.s (x = Q, T : CAEN V792, V862, V775 )
1 x 34 ch (CAEN V1742) 5Gs/s Digitizer (single event: ~34x1024x12bit)
1 x 4 ch Tektronix TDS7254B 20 Gs/s oscilloscope
… few VME I/O & discriminator boards
DAQ logic spill-driven (no “real time”, scientific linux desktop)
in-spill (slow extraction)
a) poll trigger signal … if trigger present:
b) read all VME boards (w/ DMA, whenever possible)
c) format & store on a large buffer (FIFO over RAM)
d) re-enable trigger
out-of-spill
a) read scope (in case)  size is fixed at run start
b.1) monitor data (produce root files)
b.2) store on disk files (beam and pedestal files) over network
rate ~ O(1 kHz)

---
LHC Experiments

---
Multi-Level Trigger Systems
- Often impossible to take a proper decision in a single place
  - too long decision time
  - too far
  - too many inputs
- Distribute decision burden in a hierarchical structure
  - usually
- At DAQ level, proper buffering must be provided for every trigger level
  - absorb latency
  - de-randomise

---
HEP DAQ Phase-Space

---
Trigger & DAQ Challenges @ LHC
- Experiments with O(107-108) channels operating at 40 MHz (25 ns)  ~40 TB/s
- Searching for extremely rare phenomena:
… find the needle in a haystack:
- Pretty complex events
  - significant number of overlapping collisions (pile-up)
- Large dimensions/distances (O(10 m))
Multi-level trigger system and …

---
Level-1 Trigger & FE Electronics
Event N
- Particle time of flight >> 25 ns
- Cable delays >> 25 ns
Event N+1
Dedicated synchronization, timing and signal distribution facilities
- Typical Level-1 decision latency: O(μs)
  - dominated by signal propagation in cables
Digital/analog custom front-end pipelines store information during L1 trigger decision
Delay
Discriminator
Trigger

---
After Level-1 ?
- Custom hardware for Level-1 trigger and front-end electronics followed by network-based High-Level Trigger farm(s)
  - commercially available HW organized in a farm
    - events are independent
Custom electronics
- Connection between via dedicated HW and point-to-point connectivity
  - electrical or optical, standard or custom
Network based
CPU
CPU
CPU
CPU
CPU
CPU
CPU
CPU
CPU

---
Read-Out Links (in LHC Run 1)

---
ATLAS HLT Farm

---
ALICE

---
ATLAS

---
CMS

---
LHCb

---
Long Shutdown 1 – TDAQ Perspective
- LHC data-acquisition system backbones installed ~2007
  - during Run 1  stability, efficiency, performance reach and optimization
- LS1 occasion to
  - upgrade core systems and review architectures
  - introduce new technologies, retire obsolete ones
  - follow changes of detector side
  - prepare for Run2 (and Run3) challenges

---
Long Shutdown 1 – TDAQ Perspective
- LHC data-acquisition system backbones installed ~2007
  - during Run 1  stability, efficiency, performance reach and optimization
- LS1 occasion to
  - upgrade core systems and review architectures
  - introduce new technologies, retire obsolete ones
  - follow changes of detector side
  - prepare for Run2 (and Run3) challenges

---
Run 2: Challenges
- Increased pile-up
  - larger data size  bandwidth and storage
  - more complex events  increased computing needs, trigger efficiency and rejection power
10 20 30 40 50 60
# Vertexes
CMS
ATLAS
L2

---
(Some) Run-2 Updates
- No architectural changes, but
  - all network technologies replaced
    - Myrinet  Ethernet
    - Ethernet  Infiniband
  - file-based event distribution in the farm
    - achieve full decoupling between DAQ and HLT
- Merge L2 and L3 into a single HLT farm
  - preserve Region of Interest, but diluted the farm separation and fragmentation
  - increased flexibly, computing power efficiency

---
Evolution for Run 2
    CMS:
  - more like ATLAS
- … still doing full EB, but analyse ROI first
  ATLAS:
- more like CMS
… still using “L2” ROI, but as first step of a unified L2/EB/HLT process
DAQ@LHC Joint Workshop 2013 :
http://indico.cern.ch/conferenceOtherViews.py?view=standard&confId=217480

---
Looking forward to LS2 and beyond
DAQ@LHC Workshop
On some long term, all experiments looking forward to significant increase in L1 trigger rate and bandwidth. ALICE and LHCb will pioneer this path during LS2
- 1 MHz  40 MHz readout and event building  trigger-less
  - trigger support for staged computing power deployment
- 100 kB/event
  - on-detector zero suppression  rad-hard FPGA
  - 4 TB/s event-building
- First level trigger for Pb-Pb interactions 500 Hz  50 kHz
- 22 MB/event
  - 1 TB/s readout  500 PB/month
- Data volume reduction
  - on-line full reconstruction
  - discard raw-data
- Combined DAQ/HLT/offline farm
  - COTS, FPGA and GPGPU

---
Almost the End ...

---
What I did not talk about …
- Many many topics, not exhaustive list:
  - Run Control  DAQ steering, Finite State Machine
  - Configuration  Storing, distributing and archiving SW, HW and trigger configuration
  - Monitoring  data quality, detector state, DAQ functionality
Your chance of hearing about these and much more and learn through practice at …

---
ISOTDAQ 2017
Seventh edition of the International School of Trigger and Data Acquisition will be held in Jan-Feb 2017 (location not yet known)
Watch this space
http://isotdaq.web.cern.ch/isotdaq/isotdaq/Home.html

---
References
- Lectures and papers from H. Spieler
  - http://www-physics.lbl.gov/~spieler/
- Lecture at ISOTDAQ schools
  - http://isotdaq.web.cern.ch/isotdaq/isotdaq/Home.html
- Of course, previous Summer Student courses
  - https://indico.cern.ch/category/345/
- DAQ@LHC Workshops
  - 1st in 2013: https://indico.cern.ch/event/217480/
  - 2nd in 2016: https://indico.cern.ch/event/471309/

---
Thanks for your patience ...