Trigger/DAQ design:
from test beam
to medium size experiments
Roberto Ferrari
Istituto Nazionale di Fisica Nucleare
ISOTDAQ 2016
Weizmann Institute of Science
27 January 2016

---
credit to Sergio Ballestrero
~all material comes from his talk at ISOTDAQ 2015

---
disclaimer
USE THIS MATERIAL AT YOUR OWN RISK
BE AWARE THAT ANY INFORMATION YOU MAY FIND MAY BE INACCURATE, MISLEADING, DANGEROUS, ADDICTIVE, UNETHICAL OR ILLEGAL

---
HEP DAQ phase-space
Take care: different issues → different solutions
no single magic solution to all cases

---
Trying to move … from here:
to here:

---
Medium/Large DAQ: constituents

---
trying to get there in 5 steps ...
- Step 1: Increasing the rate
- Step 2: Increasing the sensors
- Step 3: Multiple Front-Ends
- Step 4: Multi-level Trigger
- Step 5: Data-Flow control

---
step one: increase rate
Single-event readout:
- wait for data (poll/irq)
- read ADC
- clear & re-enable ADC
- re-format data
- write to storage
trigger
dataflow

---
dead time → de-randomise
- Processing →
    bottleneck
Buffering allows to decouple problems
Dead time ~ (1+x)-1 ~ 50%
[ for x = 1/(f·τ)‏ ~ 1 ]
Dead time ~ (∑0..N xj)-1 ~ 1/(N+1)
[ N = buffer depth ]

---
derandomisation
N-event buffer ... single queue size N:
Pk : % time with k events in buffer
PN = no space available → dead time
∑Pk=1 [ k=0..N ]
rate(j→j+1) = f·Pj
rate(j+1→j) = Pj+1/τ
stationary condition: f·Pj=Pj+1/τ → Pj=Pj+1/(fτ)=x·Pj+1
if x~1 → Pj~Pj+1 → ∑Pk~(N+1)·P0=1 → P0~1/(N+1)
→ dead time ~ 1/(N+1)
want ≤ 1% → N ≥ 100

---
Game over ?
Even in a simple DAQ there are many other possible limits

---
→ the sensor
- Sensors are limited by physical processes, e.g.
  - drift times in gases
  - charge collection in Si
- (possibly) choose fast processes
- analog F.E. imposes limits as well
- split the sensors, each gets less rate:
  “increase granularity”

---
→ the ADC
- A/D F.E. is also limited
- Faster ADCs pay the price in precision (# of bits) and power consumption
- Alternatives:
  - analog buffers
- You may need integration (or sampling) over quite some time
[ see Detector Readout and FE lectures ]

---
an example
- HPGe + NaI Scintillator
  High res spectroscopy and beta+ decay identification
- minimal trigger with busy logic
- Peak ADC with buffering, zero suppression
- VME SBC with local storage
- Rate limit ~14kHz
  - HPGe signal shaping
    for charge collection
  - PADC conversion time
- 3x12 bits data size
  (coincidence in an ADC channel)
  +32bit ms timestamp
- Root for monitor & storage

---
→ the trigger
- a simple trigger may be ~fast
- a complex trigger logic
  may not be [ even
  when all in hw ]
- some trigger detectors may be far away / slow → latency
- trigger signal is one: all information must be
  collected at a single point
  - in one step:
    too many cables
  - in many steps:
    delays
→ discrete modules: ~ 5-10 ns delay → tot. latency ≥ 20-30 ns ←

---
a testbeam case → DREAM
a possible SPS cycle
(superCycle)
beam:
2.58s / 14.4s
(flat top)
slow extraction
Trigger = V×T1×T2 | ped → easy !

---
“spill-driven” (asynchronous) trigger
Trigger = !V×T1×T2 | ped
Veto
Busy
Spill
Fast Gate
Trigger OR
to xDC.s
Trigger
FADC Trigger
(oscilloscope)‏
from DAQ
Re-enable
to DAQ
Other signals → monitoring/debugging‏
Ped Veto
Ped Tr.
First discrete, then FPGA (Xilinx Spartan 3AN evaluation board)

---
DREAM DAQ
1 PC → 2 VME crates (access via CAEN optical interfaces) + 1 PC → storage
6 x 32 ch xDC.s (x = Q, T : CAEN V792, V862, V775 )
1 x 34 ch (CAEN V1742) 5Gs/s Digitizer (single event: ~34x1024x12bit)
1 x 4 ch Tektronix TDS7254B 20 Gs/s oscilloscope
… few VME I/O & discriminator boards
DAQ logic spill-driven (no real time, PC with scientific linux)
in-spill (slow extraction)
a) poll trigger signal … if trigger present:
b) read all VME boards (w/ DMA, whenever possible)
c) format & store on a large buffer (FIFO over RAM)
d) re-enable trigger
out-of-spill
a) read scope (in case) → size is fixed at run start
b.1) monitor data (produce root files)
b.2) store on disk files (beam and pedestal files) over network
rate ~ O(1 kHz)

---
→ the dataflow
- Data Processing may be ~ easy and scalable
- Data Transport may not be easy
- Final storage is expensive
  (and at some point not easy either) → can't store all data you may acquire

---
step two: increase # of sensors
- More granularity at the physical level
- Multiple channels
  (usually with FIFOs)
- Single, all-HW trigger
- Single processing unit
- Single I/O
ADC
storage
N channels
Trigger
Processing

---
multi-channels, single PU
- common architecture in test beams and small experiments
- often rate limited by (interesting) physics itself, not TDAQ system
- or by the sensors
ADC
storage
N channels
Trigger
Processing

---
bottlenecks: PU and storage
- a single Processing Unit can be a limit
  - collect / reformat / compress data can be heavy
  - simultaneously writing
    storage
- final storage too:
  - VME up to 50MB/s
    -> 1TB in 6h
    too many disks in a week!
Laptop SATA disk: 54MB/s; USB2: ~30MB/s
ADC
storage
N channels
Trigger
Processing

---
→ decouple storage from PU
- data transfer data → dedicated “Data Collection” unit to format, compress and store
- more room for smarter processing or decreased dead time on non-buffered ADCs
ADC
storage
N channels
Trigger
Processing
Data
Collection

---
bottlenecks: trigger
- to reduce data rates
  (to avoid storage issues)
  → non-trivial trigger
- complexity may already hit manageability limits for discrete logic (latency!)
- integrated, programmable logic came to rescue (FPGA)
  → latency may go down to O(few ns)
ADC
storage
N channels
Trigger
Processing

---
another example: NA43/63
- Radiation processes: coherent emission in crystals and structured targets, LPM suppression...
- 80~120 GeV e- from
  CERN SPS slow extraction
- 2s spill every 13.5s
- Needs very high angular resolution
- Long baseline + high-res, low material detectors
  → drift Chambers
- 10 kHz limit on beam for radiation damage
- results in typical 2~3 kHz physics trigger

---
NA43/63
- 30~40 TDC, 6~16 QDC, 0~2 PADC
  (depends on measurement)
- CAMAC bus
  1MB/s, no buffers, no Z.S.
- single PC readout
- NIM logic trigger
  (FPGA since 2009)
  - pileup rejection
  - fixed deadtime

---
step three: multiple PU (SBC)
- e.g.: CERN LEP experiments
- complex detectors,
  moderate trigger rate,
  very little background
- little pileup, limited channel occupancy
- simpler, slow gas-based main trackers
LEP
- 105 channels
- 22μs crossing rate
  - no event overlap
- single interaction

---
→ event building
- Event “fragments” in detector/sector-specific pipeline
- keep track of which event they belong to
  w/ timestamp or
  w/ L1 trigger #
- gather every fragment to single location
- synchronous/asynchronous
see DAQ Software lecture

---
NOMAD
- Search for νμ→ντ oscillations at the CERN WB neutrino facility
- 2.4×2.4 m2 fiducial (beam) area
- two 4ms-spills with 1.8×1013 P.o.T. each
- a (2s) slow-extraction spill
- cycle length of 14.4 s
trigger counters
veto counters
DAQ layout

---
NOMAD DAQ
- ~30(?) (64 or 96 channel) Fastbus xDC boards [ x = Q, P, T ]
- Typically:
    - ~15 evts each 4ms spill (neutrino triggers)
    - ~60 evts each 2s-spill (muon triggers)
    - 256-event calibration cycles off-spill (calibration triggers)
  - On spill(cycle): on-board buffering of up to 256 events (no way to read event-by-event)
  - End of spill(cycle): block transfer to 5 VME PU.s (motorola 68040 FIC8234 board, OS9 real-time system)
  - Event building and storage on another VME PU
  - Monitoring and control on SunOs/Solaris workstations
    → on-board buffering
    → data processing is done off-beam (once more)

---
Triggering once more ...
menu for NOMAD:
ν-spill triggers
μ-spill triggers
~3m
veto counters (central shaded area is V8)
~3m

---
→ FPGA.s at work
MOdular TRIgger for NOmad (MOTRINO):
6 VME boards providing local and global trigger generation and propagation

---
bottlenecks ?
- trigger complexity ↔ storage
- single HW trigger not sufficient to reduce rate
- add L2 Trigger
- add HLT

---
step four: multi-level trigger
Typical Trigger / DAQ structure at LEP
- more complex filters
- → slower
- → applied later in the chain
see Trigger lectures
LEP
- 105 channels
- 22μs crossing rate
  - no event overlap
- single interaction
- L1 ~103 Hz
- L2 ~102 Hz
- L3 ~101 Hz
- 100kB/ev → 1MB/s

---
ATLAS!
LHC
- 107 channels
- 25ns crossing rate
  - high event overlap
- 20 interactions
- L1 ~105 Hz
- L2 ~103 Hz
- L3 ~102 Hz
- 1MB/ev → 100MB/s
ATLAS T&DAQ Why & How, L. Mapelli @ISOTDAQ 2010

---
LHC (collider) → sinchronous
… nevertheless, high luminosity & high cross sections → high rate, high-pileup, large events:
➔ most events uninteresting
➔ good events (triggers) arrive uncorrelated (unpredictable)
➔ de-randomization is still needed
→ dataflow is an issue

---
ATLAS run-1 architecture
- Still 3-level trigger
- buffers everywhere
- L2 on CPU, not HW, but limited to ROIs
- L3 using offline algorithms
- “economical” design: the least CPU and network for the job
see “TDAQ for LHC” lecture

---
ATLAS run-2 architecture
→ Merge L2 and L3 into a single HLT farm
  - preserve Region of Interest but dilute the farm separation and fragmentation
  - increase flexibly, computing power efficiency

---
CMS!
CMS TDAQ Design - S. Cittolin @ISOTDAQ 2010

---
CMS architecture
- Only two trigger levels
- Intermediate event building step (RB)
- larger network switching
see “TDAQ for LHC” lecture
- upgrade: no architectural changes but:
  - all network technologies replaced
    - Myrinet → Ethernet
    - Ethernet → Infiniband
  - file-based event distribution in the farm
    - full decoupling between DAQ and HLT

---
Evolution for LHC Run 2
Evolution for LHC Run 2
    CMS:
  - more like ATLAS
- … still doing full EB, but analyse ROI first
  ATLAS:
- more like CMS
… still using “L2” ROI, but as first step of a unified L2/EB/HLT process
DAQ@LHC Joint Workshop 2013 :
http://indico.cern.ch/conferenceOtherViews.py?view=standard&confId=217480

---
step five: dataflow control
- Buffers are not the <final solution> they can overflow due to:
  - bursts
  - unusual event sizes
- Discard
  - local, or
  - “backpressure”,
    tells lower levels to discard
Who controls the flow?
The FE (push) or the EB (pull)

---
a push example: KLOE
- DAΦΝΕ e+e- collider in Frascati
- CP violation parameters in the Kaon system
- “factory”: rare events in a high-rate beam
- 105 channels
- 2.7ns crossing rate
  - rarely event overlap
  - “double hit” rejection
- high rate of small events
- L1 ~104 Hz
  - 2μs fixed dead time
- HLT ~104 Hz
  - ~COTS, cosmic rejection only
- 5kB/ev → 50MB/s [design]

---
KLOE
- deterministic FDDI network
- not real need for buffering at FE
- push architecture
  vs pull used in ATLAS
  see DAQ Software lecture
- try EB load redistribution before resorting to backpressure
EB
Which LHC experiment has a somewhat similar dataflow architecture ?

---
LHCb: dataflow is network
The LHCb Data Acquisition during LHC Run 1
CHEP 2013
more info in “TDAQ for the LHC experiments”

---
Trends
- Integrate synchronous,
  low latency in the front end
  - the limitations discussed do not disappear, but decouple (factorise)
  - all-HW implementation
  - isolated in replaceable(?) components
- Use networks as soon as possible
- Deal with dataflow instead of latency
- Use COTS network and processing
- Use “network” design already at small scale
  - easily get high performance with commercial components

---
Back to basics ?
(12) In [protocol] design, perfection has been reached not when there is nothing left to add, but when there is nothing left to take away.
RFC 1925 The Twelve [Networking] Truths
After adding all these levels of buffering, indirection, preselection, pre-preselection ...
… what if we threw it all away?
Well, sometimes we can, sometimes we can't.
see TDAQ for the LHC experiments

---
take care #1, lot of issues not covered:
  Hw configuration
  Sw configuration
  Hw control & recovery
  Sw control & recovery
  Monitoring
  …
take care #2:
  in average things (often) do work, but what about fluctuations/exceptions ?

---
Thank you for your patience ...